## time_calculation
space (nm)
linewidth (nm) | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000
2 | 10 | 20 | 30 | 40 | 50 | 100 | 10000 | 20000 | 30000 | 40000 | 50000
10 | 10 | 20 | 30 | 40 | 50 | 100 | 10000 | 20000 | 30000 | 40000 | 50000
20 | 20 | 40 | 60 | 80 | 100 | 200 | 10000 | 20000 | 30000 | 40000 | 50000
50 | 50 | 100 | 150 | 200 | 250 | 500 | 10000 | 20000 | 30000 | 40000 | 50000
100 | 100 | 200 | 300 | 400 | 500 | 1000 | 10000 | 20000 | 30000 | 40000 | 50000
200 | 200 | 400 | 600 | 800 | 1000 | 2000 | 10000 | 20000 | 30000 | 40000 | 50000
500 | 500 | 1000 | 1500 | 2000 | 2500 | 5000 | 10000 | 20000 | 30000 | 40000 | 50000
1000 | 1000 | 2000 | 3000 | 4000 | 5000 | 10000 | 10000 | 20000 | 30000 | 40000 | 50000
# of lines
linewidth (nm) | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000
2 | 33334.3333 | 18182.8182 | 12501 | 9524.8095 | 7693.3077 | 3922.5686 | 41 | 21 | 14.3333 | 11 | 9 | x shape of box (cm) | 0.04
10 | 20001 | 13334.3333 | 10001 | 8001 | 6667.6667 | 3637.3636 | 41 | 21 | 14.3333 | 11 | 9
20 | 10001 | 6667.6667 | 5001 | 4001 | 3334.3333 | 1819.1818 | 41 | 21 | 14.3333 | 11 | 9
50 | 4001 | 2667.6667 | 2001 | 1601 | 1334.3333 | 728.2727 | 41 | 21 | 14.3333 | 11 | 9
100 | 2001 | 1334.3333 | 1001 | 801 | 667.6667 | 364.6364 | 41 | 21 | 14.3333 | 11 | 9
200 | 1001 | 667.6667 | 501 | 401 | 334.3333 | 182.8182 | 41 | 21 | 14.3333 | 11 | 9
500 | 401 | 267.6667 | 201 | 161 | 134.3333 | 73.7273 | 41 | 21 | 14.3333 | 11 | 9
1000 | 201 | 134.3333 | 101 | 81 | 67.6667 | 37.3636 | 41 | 21 | 14.3333 | 11 | 9
area (cm2)
linewidth (nm) | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000
box | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05 | 2.5e-05
2 | 6.6669e-05 | 1.2122e-09 | 1.5154e-14 | 1.4434e-19 | 1.1104e-24 | 4.3558e-30 | 1.7859e-37 | 3.7503e-45 | 5.3755e-53 | 5.913e-61 | 5.3217e-69 | y shape of box (cm) | 0.01
10 | 0.00020001 | 2.667e-09 | 2.6673e-14 | 2.1341e-19 | 1.4229e-24 | 5.1757e-30 | 2.122e-37 | 4.4563e-45 | 6.3874e-53 | 7.0261e-61 | 6.3235e-69
20 | 0.00020002 | 1.3337e-09 | 6.6697e-15 | 2.6685e-20 | 8.8978e-26 | 1.6187e-31 | 6.6365e-39 | 1.3937e-46 | 1.9976e-54 | 2.1974e-62 | 1.9776e-70
50 | 0.00020005 | 5.3367e-10 | 1.0679e-15 | 1.7097e-21 | 2.2812e-27 | 1.6614e-33 | 6.8116e-41 | 1.4304e-48 | 2.0503e-56 | 2.2553e-64 | 2.0298e-72
100 | 0.0002001 | 2.67e-10 | 2.6727e-16 | 2.1408e-22 | 1.4293e-28 | 5.2119e-35 | 2.1369e-42 | 4.4875e-50 | 6.432e-58 | 7.0752e-66 | 6.3677e-74
200 | 0.0002002 | 1.3367e-10 | 6.6967e-17 | 2.6854e-23 | 8.9781e-30 | 1.6414e-36 | 6.7296e-44 | 1.4132e-51 | 2.0256e-59 | 2.2282e-67 | 2.0054e-75
500 | 0.0002005 | 5.3667e-11 | 1.0787e-17 | 1.7367e-24 | 2.333e-31 | 1.7201e-38 | 7.0522e-46 | 1.481e-53 | 2.1227e-61 | 2.335e-69 | 2.1015e-77
1000 | 0.000201 | 2.7001e-11 | 2.7271e-18 | 2.209e-25 | 1.4947e-32 | 5.5848e-40 | 2.2898e-47 | 4.8085e-55 | 6.8922e-63 | 7.5815e-71 | 6.8233e-79 | total area (cm2) | 0.0014686
dose multiplier
linewidth (nm) | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000
box | 0.2 | 0.4 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.4 | 1.8
2 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
10 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
20 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
50 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
100 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
200 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
500 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
1000 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
1 1 1 1 1 1 1 1: shot modulation (%) | actual dose (uC/cm2)
linewidth (nm) | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000 | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000
box | -80 | -60 | -40 | -30 | -20 | -10 | 0 | 10 | 20 | 40 | 80 | 10 | 20 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 70 | 90
2 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
10 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
20 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
50 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
100 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
200 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
500 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
1000 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100
time (sec)
linewidth (nm) | 1 | 2 | 3 | 4 | 5 | 10 | 10000 | 20000 | 30000 | 40000 | 50000 | base dose (C/cm2) | 5e-05
box | 2.5 | 5 | 7.5 | 8.75 | 10 | 11.25 | 12.5 | 13.75 | 15 | 17.5 | 22.5 | current (A) | 1e-10
2 | 33.3343 | 0.00066672 | 9.0924e-09 | 9.382e-14 | 7.7731e-19 | 3.2668e-24 | 1.4287e-31 | 3.1878e-39 | 4.8379e-47 | 5.6174e-55 | 5.3217e-63
10 | 100.005 | 0.0014669 | 1.6004e-08 | 1.3872e-13 | 9.9605e-19 | 3.8818e-24 | 1.6976e-31 | 3.7879e-39 | 5.7486e-47 | 6.6748e-55 | 6.3235e-63
20 | 100.01 | 0.00073352 | 4.0018e-09 | 1.7345e-14 | 6.2284e-20 | 1.214e-25 | 5.3092e-33 | 1.1846e-40 | 1.7978e-48 | 2.0875e-56 | 1.9776e-64
50 | 100.025 | 0.00029352 | 6.4072e-10 | 1.1113e-15 | 1.5969e-21 | 1.246e-27 | 5.4493e-35 | 1.2159e-42 | 1.8453e-50 | 2.1426e-58 | 2.0298e-66
100 | 100.05 | 0.00014685 | 1.6036e-10 | 1.3915e-16 | 1.0005e-22 | 3.9089e-29 | 1.7095e-36 | 3.8143e-44 | 5.7888e-52 | 6.7215e-60 | 6.3677e-68
200 | 100.1 | 7.3517e-05 | 4.018e-11 | 1.7455e-17 | 6.2847e-24 | 1.231e-30 | 5.3837e-38 | 1.2012e-45 | 1.823e-53 | 2.1168e-61 | 2.0054e-69
500 | 100.25 | 2.9517e-05 | 6.4723e-12 | 1.1289e-18 | 1.6331e-25 | 1.29e-32 | 5.6418e-40 | 1.2588e-47 | 1.9104e-55 | 2.2182e-63 | 2.1015e-71 | total time (sec) | 860.5278
1000 | 100.5 | 1.4851e-05 | 1.6363e-12 | 1.4358e-19 | 1.0463e-26 | 4.1886e-34 | 1.8318e-41 | 4.0873e-49 | 6.203e-57 | 7.2024e-65 | 6.8233e-73 | hours | 0
[12 empty] | min | 14
[12 empty] | sec | 20.5278
100um
400um
100um
label
75um
150um
75um
100um
75um

## details
I have a .jdf file and .sdf file set up for 2nA and to use the pattern shown with shot modulation shown. You can edit as you see fit.
directory -> /job/devin/resist
job deck file -> prox01.jdf
schedule file -> prox01.sdf
because .gds files are limited to only 64 shot ranks, I had to break the pattern file up into 2 files.
50nm - 1000nm file -> proxeff_testp1.v30
50um squares - 20nm lines -> proxeff_testp2.v30